## Sheet1
Accuray Precision® Plan Overview
|  |  | Patient Name: |  |  |  | PETONE, MITTER AGNES |  |  |  |  | Date Of Birth: | 30 Mar 1958
|  |  | Gender: |  |  |  | Female |  |  |  |  | Patient Key: | 095050
|  |  | Medical ID: |  |  |  | 070840588 |  |  |  |  | Version: | Accuray Precision 3.3.1.2 [5]
Warning: This report is generated from in-memory data, which is different from the information in the last saved plan.
|  | Plan Name: |  |  |  | Kezeles |  |  |  |  | Prescription: |  |  |  |  | 87.0% Isocurve, 2235 cGy
|  | Plan Status: |  |  |  | Not Available |  |  |  |  | Prescribed Dose per Fraction (cGy): |  |  |  |  | 745
|  | Plan Type: |  |  |  | Standard |  |  |  |  | Planned Fractions: |  |  |  |  | 3
|  | Treatment Machine / Serial No.: |  |  |  | C0436 / C0436 |  |  |  |  | Maximum Dose (cGy): |  |  |  |  | 2569
|  | Plan Saved Date: |  |  |  | 08 Jan 2025, 7:29:54 AM (hr:min:sec) |  |  |  |  | MU Planned / MU per Fraction: |  |  |  |  | 7477.9 / 2492.6
Collimator Type / MLC ID: |  |  |  | MLC / 89 | [6 empty] | Collimator Sizes (mm): |  |  |  |  | Not Applicable
Anatomy: |  |  |  | body_mlc | [6 empty] | Synchrony Method: |  |  |  |  | Fiducial with Respiratory
Path Set: |  |  |  | Full_Path | [6 empty] | InTempo Imaging: |  |  |  |  | No
Dose Calculation Algorithm: |  |  |  | Monte Carlo (3D) |  |  |  |  | Dose Resolution / Uncertainty: |  |  |  |  | High / 0.8
Lateral Scaling: |  |  |  | Not Applicable |  |  |  |  | Spacing (IECp, mm) |  |  |  |  | X: 1.27 Y: 1.25 Z: 1.27
Planning Method: |  |  |  | VOLO |  |  |  |  | Size (IECp, voxel) |  |  |  |  | X: 512 Y: 263 Z: 512
| Estimated Delivery Time (min): |  |  |  | 34 |  |  |  |  | Reference Dose (cGy): |  |  |  |  | 2569 Uncertainty: 0.2%
| Number of Non-zero Beams: |  |  |  | 42 |  |  |  |  | Reference Point (IECp, mm): |  |  |  |  | X: 99.02 Y: -45.00 Z: 62.21
| Number of Segments with MU: |  |  |  | 57 |  |  |  |  | Align Center (IECp, mm): |  |  |  |  | X: 90.14 Y: -33.75 Z: 43.16
| Number of Imaging Beams: |  |  |  | 23 |  |  |  |  | Treatment Center (IECp, mm): |  |  |  |  | X: 90.14 Y: -33.75 Z: 43.16
| Number of Zero-dose Beams: |  |  |  | 0

## Sheet2
| Patient Name: PETONE, MITTER AGNES; Medical ID: 070840588; Plan Name: Kezeles; Version: Accuray Precision 3.3.1.2 | MODIFIED FROM SAVED VERSION
DVH: Absolute Dose

## Sheet3
[5 empty] | Patient Name: PETONE, MITTER AGNES; Medical ID: 070840588; Plan Name: Kezeles; Version: Accuray Precision 3.3.1.2 | [17 empty] | MODIFIED FROM SAVED VERSION
VOI
VOI List
|  |  | VOI | [5 empty] | Volume (cm³) |  | Min (cGy) | Mean (cGy) |  |  | Max (cGy) | CI | nCI |  | HI | Coverage % |  | Beam Inter.
[6 empty] | Liver |  |  | 1559.36 |  | 2 | 16 |  |  | 109 | 0.00 | 0.00 |  | 1.15 | 0.00 |  | n/a
[6 empty] | Lung |  |  | 2273.65 |  | 3 | 71 |  |  | 1585 | 0.00 | 0.00 |  | 1.15 | 0.00 |  | n/a
[6 empty] | Body |  |  | 24641.79 |  | 0 | 58 |  |  | 2569 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | CTV |  |  | 55.73 |  | 2196 | 2370 |  |  | 2569 | 1.42 | 1.43 |  | 1.15 | 99.49 |  | n/a
[6 empty] | GTV |  |  | 7.96 |  | 2202 | 2351 |  |  | 2477 | 9.94 | 9.97 |  | 1.15 | 99.67 |  | n/a
[6 empty] | PTV |  |  | 76.22 |  | 1916 | 2355 |  |  | 2569 | 1.07 | 1.11 |  | 1.15 | 96.73 |  | n/a
[6 empty] | emlo AZO |  |  | 826.16 |  | 8 | 604 |  |  | 2569 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | emlo ELL |  |  | 915.51 |  | 1 | 3 |  |  | 34 | n/a | n/a |  | n/a | n/a |  | Exit Only
[6 empty] | sziv |  |  | 510.57 |  | 7 | 72 |  |  | 334 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | tudo AZO |  |  | 1024.52 |  | 5 | 142 |  |  | 1585 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | tudo ELL |  |  | 1249.00 |  | 3 | 12 |  |  | 95 | n/a | n/a |  | n/a | n/a |  | Exit Only
[6 empty] | PTV eval |  |  | 75.32 |  | 1925 | 2357 |  |  | 2569 | 1.07 | 1.10 |  | 1.15 | 97.54 |  | n/a
[6 empty] | gerincvelo |  |  | 33.05 |  | 1 | 27 |  |  | 135 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | AZO emlo - PTV |  |  | 754.53 |  | 8 | 437 |  |  | 2450 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | Ribs |  |  | 16.65 |  | 164 | 919 |  |  | 2220 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | Skin |  |  | 2027.75 |  | 0 | 38 |  |  | 2359 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | STV |  |  | 1134.03 |  | 1 | 30 |  |  | 195 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | Kozeli tudo |  |  | 83.13 |  | 162 | 628 |  |  | 1585 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | Kozeli bor |  |  | 43.93 |  | 47 | 677 |  |  | 2359 | n/a | n/a |  | n/a | n/a |  | Allowed
[6 empty] | [PTV eval] Shell 3 |  |  | 42.82 |  | 47 | 268 |  |  | 614 | 0.00 | 0.00 |  | 0.00 | 0.00 |  | Allowed
[6 empty] | [PTV eval] Shell 2 |  |  | 23.64 |  | 174 | 614 |  |  | 949 | 0.00 | 0.00 |  | 0.00 | 0.00 |  | Allowed
[6 empty] | [PTV eval] Shell 1 |  |  | 12.85 |  | 1220 | 1850 |  |  | 2270 | 0.00 | 0.00 |  | 0.00 | 0.00 |  | Allowed
[6 empty] | All Target Regions |  |  | n/a |  | 2 | 94 |  |  | 2569 | 0.00 | 0.00 |  | 0.00 | 0.00 |  | n/a
[6 empty] | All Critical Regions |  |  | n/a |  | 0 | 58 |  |  | 2569 | 0.00 | 0.00 |  | 0.00 | 0.00 |  | n/a
[6 empty] | Soft Tissue |  |  | n/a |  | 0 | 9 |  |  | 784 | 0.00 | 0.00 |  | 0.00 | 0.00 |  | n/a
Dx Vx Values
| DVH | [6 empty] | Dose (cGy) |  | Dose (% of 2569 cGy Max Dose) |  |  |  | Volume (cm³) |  |  |  | Volume (%) |  |  | Criteria |  |  | Value
| GTV | [6 empty] | 2235 |  | 87.0 |  |  |  | 7.94 |  |  |  | 99.7
| GTV | [6 empty] | 2123 |  | 82.6 |  |  |  | 7.96 |  |  |  | 100.0
| CTV | [6 empty] | 2235 |  | 87.0 |  |  |  | 55.45 |  |  |  | 99.5
| CTV | [6 empty] | 2123 |  | 82.6 |  |  |  | 55.73 |  |  |  | 100.0
| PTV eval | [6 empty] | 2459 |  | 95.7 |  |  |  | 2.68 |  |  |  | 3.6
| PTV eval | [6 empty] | 2347 |  | 91.4 |  |  |  | 44.05 |  |  |  | 58.5
| PTV eval | [6 empty] | 2235 |  | 87.0 |  |  |  | 73.46 |  |  |  | 97.5
| PTV eval | [6 empty] | 2123 |  | 82.6 |  |  |  | 75.17 |  |  |  | 99.8
| PTV eval | [6 empty] | 2012 |  | 78.3 |  |  |  | 75.30 |  |  |  | 100.0
| PTV eval | [6 empty] | 2472 |  | 96.2 |  |  |  | 1.51 |  |  |  | 2.0
| PTV eval | [6 empty] | 2360 |  | 91.9 |  |  |  | 37.66 |  |  |  | 50.0
| PTV eval | [6 empty] | 2227 |  | 86.7 |  |  |  | 73.81 |  |  |  | 98.0
| PTV eval | [6 empty] | 2281 |  | 88.8 |  |  |  | 67.79 |  |  |  | 90.0
| emlo AZO | [6 empty] | 2235 |  | 87.0 |  |  |  | 74.57 |  |  |  | 9.0
| emlo AZO | [6 empty] | 1676 |  | 65.2 |  |  |  | 106.36 |  |  |  | 12.9
| emlo AZO | [6 empty] | 1118 |  | 43.5 |  |  |  | 138.90 |  |  |  | 16.8
| emlo AZO | [6 empty] | 2538 |  | 98.8 |  |  |  | 0.04 |  |  |  | 0.0
| AZO emlo - PTV | [6 empty] | 2235 |  | 87.0 |  |  |  | 4.27 |  |  |  | 0.6
| AZO emlo - PTV | [6 empty] | 2123 |  | 82.6 |  |  |  | 11.66 |  |  |  | 1.5
| AZO emlo - PTV | [6 empty] | 1118 |  | 43.5 |  |  |  | 67.25 |  |  |  | 8.9
| AZO emlo - PTV | [6 empty] | 559 |  | 21.8 |  |  |  | 170.37 |  |  |  | 22.6
| tudo AZO | [6 empty] | 224 |  | 8.7 |  |  |  | 209.26 |  |  |  | 20.4
| tudo AZO | [6 empty] | 112 |  | 4.4 |  |  |  | 386.70 |  |  |  | 37.7
| tudo AZO | [6 empty] | 1424 |  | 55.4 |  |  |  | 0.10 |  |  |  | 0.0
| tudo AZO | [6 empty] | 1236 |  | 48.1 |  |  |  | 1.00 |  |  |  | 0.1
| tudo AZO | [6 empty] | 1154 |  | 44.9 |  |  |  | 2.00 |  |  |  | 0.2
| tudo AZO | [6 empty] | 740 |  | 28.8 |  |  |  | 20.49 |  |  |  | 2.0
| sziv | [6 empty] | 335 |  | 13.0 |  |  |  | 0.00 |  |  |  | 0.0
| sziv | [6 empty] | 112 |  | 4.4 |  |  |  | 123.79 |  |  |  | 24.2
| sziv | [6 empty] | 317 |  | 12.3 |  |  |  | 0.10 |  |  |  | 0.0
| sziv | [6 empty] | 286 |  | 11.1 |  |  |  | 1.00 |  |  |  | 0.2
| sziv | [6 empty] | 272 |  | 10.6 |  |  |  | 2.00 |  |  |  | 0.4
| sziv | [6 empty] | 228 |  | 8.9 |  |  |  | 10.21 |  |  |  | 2.0
| Skin | [6 empty] | 2291 |  | 89.2 |  |  |  | 0.10 |  |  |  | 0.0
| Skin | [6 empty] | 2264 |  | 88.1 |  |  |  | 0.20 |  |  |  | 0.0
| Skin | [6 empty] | 2119 |  | 82.5 |  |  |  | 1.00 |  |  |  | 0.0
| Ribs | [6 empty] | 2101 |  | 81.8 |  |  |  | 0.10 |  |  |  | 0.6
| Ribs | [6 empty] | 1801 |  | 70.1 |  |  |  | 1.00 |  |  |  | 6.0
| Ribs | [6 empty] | 2235 |  | 87.0 |  |  |  | 0.00 |  |  |  | 0.0
| Ribs | [6 empty] | 1118 |  | 43.5 |  |  |  | 5.73 |  |  |  | 34.4
| Ribs | [6 empty] | 2160 |  | 84.1 |  |  |  | 0.04 |  |  |  | 0.2
| emlo ELL | [6 empty] | 125 |  | 4.9 |  |  |  | 0.00 |  |  |  | 0.0
| emlo ELL | [6 empty] | 15 |  | 0.6 |  |  |  | 0.04 |  |  |  | 0.0
| emlo ELL | [6 empty] | 15 |  | 0.6 |  |  |  | 0.10 |  |  |  | 0.0
| emlo ELL | [6 empty] | 14 |  | 0.6 |  |  |  | 1.00 |  |  |  | 0.1
| emlo ELL | [6 empty] | 10 |  | 0.4 |  |  |  | 45.78 |  |  |  | 5.0
| tudo ELL | [6 empty] | 112 |  | 4.4 |  |  |  | 0.00 |  |  |  | 0.0
| tudo ELL | [6 empty] | 93 |  | 3.6 |  |  |  | 0.04 |  |  |  | 0.0
| tudo ELL | [6 empty] | 92 |  | 3.6 |  |  |  | 0.10 |  |  |  | 0.0
| tudo ELL | [6 empty] | 86 |  | 3.4 |  |  |  | 1.00 |  |  |  | 0.1
| tudo ELL | [6 empty] | 53 |  | 2.1 |  |  |  | 62.45 |  |  |  | 5.0
| Body | [6 empty] | 2235 |  | 87.0 |  |  |  | 78.88 |  |  |  | 0.3
| Body | [6 empty] | 1118 |  | 43.5 |  |  |  | 178.44 |  |  |  | 0.7
| Body | [6 empty] | 447 |  | 17.4 |  |  |  | 514.88 |  |  |  | 2.1
| Liver | [6 empty] | 107 |  | 4.2 |  |  |  | 0.04 |  |  |  | 0.0
Dose Points
|  | Name |  |  |  |  | Location (IECp, mm) | [5 empty] | Dose (cGy)

## Sheet4
|  | Patient Name: PETONE, MITTER AGNES; Medical ID: 070840588; Plan Name: Kezeles; Version: Accuray Precision 3.3.1.2 | [10 empty] | MODIFIED FROM SAVED VERSION
Approval and ICD
[5 empty] | Approved by: | [5 empty] | Specialists
|  |  |  | Name: |  | Stelczer, Gabor |  |  | Radiation Oncologist:
|  |  |  | User ID: |  | stelczerg |  |  | Surgeon:
|  |  |  | Approval Date: |  | 08 Jan 2025, 7:31:03 AM (hr:min:sec) |  |  | Referring Physician:
Physicist:
|  |  | Treatment Site: |  |  |  | Malignant neoplasm of unspecified site of left female breast |  |  | Created in Version: |  |  |  | Accuray Precision 3.3.1.2 [5]
|  |  | Treatment Site ICD: |  |  |  | C50.912 |  |  | Last Modified by: |  |  |  | Stelczer, Gabor
|  |  | Additional Sites: | [6 empty] | Saved Deliverable by: |  |  |  | Stelczer, Gabor
|  |  | Additional Site Codes: | [6 empty] | Plan Key: |  |  |  | 116253/9
|  |  | Patient Position: |  |  |  | HFS |  |  | Delivery Signature: |  |  |  | LLXah vKDkA
Auto Generated Results:
Not Applicable
| Name | [6 empty] | Signature |  |  |  | Role |  |  | Date
Physician
Physicist

## Sheet5
| Patient Name: PETONE, MITTER AGNES; Medical ID: 070840588; Plan Name: Kezeles; Version: Accuray Precision 3.3.1.2 | MODIFIED FROM SAVED VERSION
Report Snapshots
No snapshots available. Snapshots not available from Report Administration.

## Sheet6
| Patient Name: PETONE, MITTER AGNES; Medical ID: 070840588; Plan Name: Kezeles; Version: Accuray Precision 3.3.1.2 |  |  | MODIFIED FROM SAVED VERSION
Treatment Parameters
|  | No. of Delivered Fractions: | 3
|  | Last Treatment Date: | 10 Jan 2025, 09:44:46 AM
|  | Delivered Dose (cGy): | 2569
|  | Delivered MU: | 7477.99
|  | No. of Planned Fractions: | 3